Section 420.50  Closing Devices for Toilet Doors

The door to every toilet room shall be fitted with an effective self-closing device.