Section 320.40  Exemptions

An operator shall be exempt from the radiation installation registration requirements of this Part for the following:

a)	Electrical equipment that is manufactured for purposes other than generation of radiation, where the generation of radiation is incidental to operation (such as a television or electron microscope).

b)	Radiation machines while in transit or storage incident to transit.

c)	Radiation machines provided for temporary use (e.g. demonstration or to replace out-of-service equipment) and notification is provided in accordance with Section 320.10(b)(1)(C).

d)	Radiation machines taken possession by a financial institution as a result of foreclosure, bankruptcy, or other legal proceeding.

(Source:  Amended at 49 Ill. Reg. 406, effective December 27, 2024)