Section 320.60  Requirements for All Operators of Radiation Installations

Operators of radiation installations shall:

a)	Assure that all radiation machines are maintained and operated in accordance with standards established by the Agency to protect the public health and safety as set forth in this Part and in 32 Ill. Adm. Code 310, 340, 350, 360, 370, 380, 390, 400, 401, 405 and 410.

b)	Assure that all persons who use a radiation machine to administer ionizing radiation to human beings are licensed in accordance with the requirements of 32 Ill. Adm. Code 360.10, accredited by the Agency or exempt from those requirements in accordance with 32 Ill. Adm. Code 401.30.

(Source:  Amended at 36 Ill. Reg. 17376, effective November 30, 2012)