SUBPART A:  GENERAL INFORMATION

Section

335.10	Purpose and Scope

335.15	Incorporations by Reference

335.20	Definitions

335.30	License Required

335.35	Suppliers for Sealed Sources or Devices for Medical Use

335.40	License Amendments

335.45	Notifications

335.50	Written Directives (Repealed)

335.60	Provisions for the Protection of Human Research Subjects

SUBPART B:  GENERAL ADMINISTRATIVE REQUIREMENTS

Section

335.1010	ALARA Program (Repealed)

335.1020	Radiation Safety Officer (Repealed)

335.1030	Radiation Safety Committee (Repealed)

335.1040	Authorities and Responsibilities for the Radiation Protection Program

335.1050	Supervision

335.1060	Authorized User and Visiting Authorized User

335.1070	Mobile Nuclear Medicine Service Administrative Requirements (Repealed)

335.1080	Report and Notification of a Medical Event

335.1090	Materials Authorized for Medical Use (Repealed)

335.1100	Report and Notification of a Dose to an Embryo/Fetus or a Nursing Child

335.1110	Written Directives

335.1120	Procedures for Administrations Requiring a Written Directive

SUBPART C:  GENERAL TECHNICAL REQUIREMENTS

Section

335.2010	Possession, Use and Calibration of Instruments Used to Measure the Activity of Unsealed Radioactive Material

335.2020	Possession, Calibration and Check of Survey Instruments (Repealed)

335.2030	Assay of Radiopharmaceutical Dosages

335.2040	Authorization for Calibration, Transmission, Attenuation Correction and Reference Sources

335.2050	Requirements for Possession of Sealed Sources (Repealed)

335.2060	Labeling and Use of Vials and Syringes

335.2070	Vial Shields and Vial Shield Labels (Repealed)

335.2080	Monitoring for Contamination and Ambient Radiation Dose Rate

335.2090	Safety Instructions for Patients Not Hospitalized and Containing Therapeutic Doses of Radiopharmaceuticals or Permanent Implants (Repealed)

335.2100	Admission of Patients Being Treated with Radiopharmaceuticals or Permanent Implants (Repealed)

335.2110	Release of Individuals Containing Unsealed Radioactive Material or Implants Containing Radioactive Material

335.2120	Mobile Medical Service Requirements

335.2130	Storage of Volatiles and Gases (Repealed)

335.2140	Other Medical Uses of Radioactive Material or Radiation from Radioactive Material (Emerging Technologies)

335.2150	Additional Technical Requirements for Intravascular Brachytherapy Units

SUBPART D:  UNSEALED RADIOACTIVE MATERIAL FOR UPTAKE, DILUTION AND EXCRETION STUDIES – WRITTEN DIRECTIVE NOT REQUIRED

Section

335.3010	Use of Unsealed Radioactive Material for Uptake, Dilution and Excretion Studies for Which a Written Directive is Not Required

SUBPART E:  UNSEALED RADIOACTIVE MATERIAL FOR IMAGING AND LOCALIZATION STUDIES FOR WHICH A WRITTEN DIRECTIVE IS NOT REQUIRED

Section

335.4010	Use of Unsealed Radioactive Material for Imaging and Localization Studies for Which a Written Directive is Not Required

335.4020	Permissible Concentrations of Molybdenum-99, Strontium-82 and Strontium-85

335.4030	Control of Aerosols and Gases (Repealed)

SUBPART F:  UNSEALED RADIOACTIVE

MATERIAL – WRITTEN DIRECTIVE REQUIRED

Section

335.5010	Use of Unsealed Radioactive Material for Which a Written Directive is Required

335.5020	Safety Instruction

335.5030	Safety Precautions

SUBPART G:  SEALED SOURCES FOR DIAGNOSIS

Section

335.6010	Use of Sealed Sources for Diagnosis

SUBPART H:  MANUAL BRACHYTHERAPY

Section

335.7010	Use of Sealed Sources for Brachytherapy

335.7020	Safety Instruction

335.7030	Safety Precautions

335.7040	Accountability and Security of Brachytherapy Sources

335.7050	Discharge of Patients Treated With Temporary Implants (Repealed)

335.7060	Surveys After Source Implant and Removal

335.7070	Calibration Measurements of Brachytherapy Sources

335.7080	Decay of Brachytherapy Sources

335.7090	Therapy-related Computer Systems for Manual Brachytherapy

335.7100	Strontium-90 Sources for Ophthalmic Treatments

SUBPART I:  REMOTE AFTERLOADER UNITS,

TELETHERAPY UNITS AND

GAMMA STEREOTACTIC RADIOSURGERY UNITS

Section

335.8010	Use of a Sealed Source in Remote Units, Teletherapy Units or Gamma Stereotactic Radiosurgery Units

335.8020	Installation, Maintenance, Adjustment and Repair Restrictions

335.8030	Amendments to Teletherapy Licenses (Repealed)

335.8040	Safety Procedures and Instructions for Remote Afterloader Units, Teletherapy Units and Gamma Stereotactic Radiosurgery Units

335.8050	Safety Precautions for Remote Afterloader Units, Teletherapy Units and Gamma

Stereotactic Radiosurgery Units

335.8060	Radiation Monitoring Device for Teletherapy Units and Gamma Stereotactic Radiosurgery Units

335.8070	Viewing System for Teletherapy (Repealed)

335.8080	Dosimetry Equipment

335.8090	Full Calibration Measurements for Teletherapy

335.8100	Periodic Spot-Checks for Teletherapy

335.8110	Radiation Monitoring

335.8120	Safety Checks for Teletherapy Facilities (Repealed)

335.8130	Modification of Teletherapy Unit or Room Before Beginning a Treatment Program (Repealed)

335.8140	Reports of Teletherapy Monitoring, Checks, Tests and Measurements (Repealed)

335.8150	Full-Inspection Servicing for Teletherapy and Gamma Stereotactic Radiosurgery Units

335.8160	Full Calibration Measurements on Remote Afterloader Units

335.8170	Periodic Spot-Checks for Remote Afterloader Units

335.8180	Monitoring of Patients and Human Research Subjects Treated with a Remote Afterloader Unit or Intravascular Brachytherapy Unit

335.8190	Full Calibration Measurements on Gamma Stereotactic Radiosurgery Units

335.8200	Periodic Spot-Checks for Gamma Stereotactic Radiosurgery Units

335.8210	Additional Technical Requirements for Mobile Remote Afterloader Units

335.8220	Additional Technical Requirements for Intravascular Brachytherapy Units (Repealed)

335.8230	Therapy-related Computer Systems for Remote Afterloader Units, Teletherapy Units and Gamma Stereotactic Units

SUBPART J:  TRAINING AND EXPERIENCE REQUIREMENTS

Section

335.9010	Training for Radiation Safety Officer and Associate Radiation Safety Officer

335.9020	Training for Experienced Radiation Safety Officer (Repealed)

335.9030	Training for Uptake, Dilution or Excretion Studies

335.9040	Training for Imaging and Localization Studies

335.9050	Training for Use of Unsealed Radioactive Material for Which a Written Directive is Required

335.9060	Training for the Oral Administration of Sodium Iodide I-131 Requiring a Written Directive in Quantities Less Than or Equal to 1.22 GBq (33 mCi)

335.9070	Training for the Oral Administration of Sodium Iodide I-131 Requiring a Written Directive in Quantities Greater Than 1.22 GBq (33 mCi)

335.9080	Training for the Parenteral Administration of Unsealed Radioactive Material Requiring a Written Directive

335.9090	Training for Therapeutic Use of Colloidal Chromic Phosphorus-32 Labeled Phosphate Compound or Gold-198 (Repealed)

335.9100	Training for Use of Manual Brachytherapy Sources

335.9120	Training for Ophthalmic Use of Strontium-90

335.9130	Training for Use of Sealed Sources for Diagnosis

335.9140	Training for Use of Remote Afterloader Units, Teletherapy Units and Gamma Stereotactic Radiosurgery Units

335.9150	Training for Authorized Medical Physicist

335.9160	Training for Experienced Radiation Safety Officer, Authorized Medical Physicist or Authorized User

335.9170	Physician Training in a 3-Month Program (Repealed)

335.9180	Recentness of Training

335.9190	Resolution of Conflicting Requirements During Transition Period

335.APPENDIX A	List of Specialty Board Certifications Recognized by the Agency Until October 24, 2007 (Repealed)