Section 400.10  Purpose and Scope

a)	This Part establishes requirements for notices, instructions and reports by licensees or registrants to individuals engaged in activities under a license or registration and options available to those individuals in connection with the Illinois Emergency Management Agency (Agency) inspections of licensees or registrants to ascertain compliance with the provisions of the Radiation Protection Act of 1990 [420 ILCS 40] (the Act) and regulations, orders and licenses issued under that Act regarding radiological working conditions.

b)	This Part shall apply to:

1)	All persons who receive, possess, use, own or transfer sources of radiation registered with or licensed by the Agency pursuant to 32 Ill. Adm. Code: Chapter II, Subchapters b and d.

2)	Inspection and testing of radiation machines and associated operating procedures by the Agency.

3)	Inspection of licensed activities by Agency inspectors.

(Source:  Amended at 33 Ill. Reg. 4333, effective March 9, 2009)