SUBPART A:  PERMITS

Section

374.101	Introduction

374.102	Conventional System Preference

374.103	System Pressure Maintenance

374.104	Sludge Disposal

374.105	Sludge Disposal (Renumbered)

374.106	Pressure System Failure (Repealed)

SUBPART B:  DESIGN CRITERIA

Section

374.201	Duplex Pumps

374.202	Minimum Size

374.203	Valves

374.204	Non-corrosive Equipment

374.205	Influent Pumping

374.206	Pump Vaults

374.207	Marked Sewer Lines

374.208	Alarm Systems