SUBPART A:  GENERAL PROVISIONS

Section

604.100	Purpose

604.105	General Requirements

604.110	Location

604.115	Usage

604.120	Piping Identification

604.125	Automatic Equipment

604.130	Operational Testing Equipment

604.135	Repair Work and Emergency Operation

604.140	Nitrification Action Plan

604.145	Exceptions for Community Water Supplies

604.150	Protection of Community Water Supply Structures

604.155	Electrical Controls and Standby Power

604.160	Safety

604.165	Monthly Operating Report

604.170	Security

SUBPART B:  SOURCE DEVELOPMENT

Section

604.200	General Requirements

604.205	Surface Water Quantity

604.210	Surface Water Quality

604.215	Surface Water Structures

604.220	Invasive Mussel Control

604.225	Reservoirs

604.230	Groundwater Quantity

604.235	Groundwater Quality

604.240	General Well Construction

604.245	Well Testing and Records

604.250	Aquifer Types and Construction Methods

604.255	Well Pumps, Discharge Piping, and Appurtenances

SUBPART C:  SOURCE WATER PROTECTION PLAN

Section

604.300	Purpose

604.305	Source Water Protection Plan Requirement and Contents

604.310	Vision Statement

604.315	Source Water Assessment

604.320	Source Water Protection Plan Objectives

604.325	Action Plan

604.330	Submission

604.335	Agency Approval

604.340	Evaluation and Revision

SUBPART D:  AERATION

Section

604.400	General Requirements for Aeration

604.405	Forced or Induced Draft Aeration

604.410	Spray Aeration

604.415	Pressure Aeration

604.420	Packed Tower Aeration

604.425	Other Methods of Aeration

SUBPART E:  CLARIFICATION

Section

604.500	General Clarification Requirements

604.505	Coagulation

604.510	Flocculation

604.515	Sedimentation

604.520	Solids Contact Unit

604.525	Tube or Plate Settlers

604.530	Other High Rate Clarification Processes

SUBPART F:  FILTRATION

Section

604.600	Filtration

604.605	Rapid Rate Gravity Filters

604.610	Rapid Rate Pressure Filters

604.615	Deep Bed Rapid Rate Gravity Filters

604.620	Biologically Active Filtration

SUBPART G:  DISINFECTION

Section

604.700	Disinfection Requirement

604.705	Chlorination Equipment

604.710	Points of Application

604.715	Contact Time

604.720	Inactivation of Pathogens

604.725	Residual Chlorine

604.730	Continuous Chlorine Analyzers

604.735	Chlorinator Piping

SUBPART H:  Softening

Section

604.800	Lime or Lime-soda Process

604.805	Cation Exchange Process

SUBPART I:  STABILIZATION

Section

604.900	General Stabilization Requirements

604.905	Carbon Dioxide Addition

604.910	Phosphates

604.915	Split Treatment

SUBPART J:  OTHER TREATMENT

Section

604.1000	Presedimentation

604.1005	Anion Exchange

604.1010	Iron and Manganese Control

604.1015	Taste and Odor Control

604.1020	Powdered Activated Carbon

SUBPART K:  CHEMICAL APPLICATION

Section

604.1100	General Chemical Application Requirements

604.1105	Feed Equipment and Chemical Storage

604.1110	Protective Equipment

604.1115	Chlorine Gas

604.1120	Acids and Caustics

604.1125	Chlorine Dioxide

604.1130	Sodium Chlorite

604.1135	Sodium Hypochlorite

604.1140	Ammonia

604.1145	Potassium Permanganate

604.1150	Fluoride

SUBPART L:  PUMPING FACILITIES

Section

604.1200	General

604.1205	Pumping Stations

604.1210	Pumps

604.1215	Booster Pumps

604.1220	Automatic and Remote-Controlled Stations

604.1225	Appurtenances

SUBPART M:  STORAGE

Section

604.1300	General Storage Requirements

604.1305	Overflow

604.1310	Access to Water Storage Structures

604.1315	Vents

604.1320	Level Controls

604.1325	Roof and Sidewalls

604.1330	Painting and Cathodic Protection

604.1335	Treatment Plant Storage

604.1340	Elevated Storage

604.1345	Hydropneumatic Storage

604.1350	Combination Pressure Tanks and Ground Storage

SUBPART N:  DISTRIBUTION

Section

604.1400	General Distribution System Requirements

604.1405	Installation of Water Mains

604.1410	Materials

604.1415	System Design

604.1420	Valves

604.1425	Hydrants

604.1430	Air Relief Valves

604.1435	Valve, Meter and Blow Off Chambers

604.1440	Sanitary Separation for Finished Water Mains

604.1445	Sanitary Separation for Raw Water Mains

604.1450	Surface Water Crossings

604.1455	Water Service Line

604.1460	Water Loading Stations

Subpart O:  Cross Connections

Section

604.1500	Cross Connections

604.1505	Cross Connection Control Program

604.1510	Cross-Connection Control Device Inspectors

604.1515	Agency Approved Cross Connection Control Measures

604.1520	COVID-19 Emergency Provisions (Repealed)

604.TABLE A 	Steel Pipe