Section 604.340  Evaluation and Revision

The community water supply must review, and revise as necessary, its source water protection plan no less frequently than every five years.  If the community water supply revises its source water protection plan, it must submit the plan to the Agency for approval under Section 604.335.