SUBPART A:  GENERAL

Section

620.105	Purpose

620.110	Definitions

620.115	Prohibition

620.125	Incorporations by Reference

620.130	Exemption from General Use Standards and Public and Food Processing Water Supply Standards

620.135	Exclusion for Underground Waters in Certain Man-Made Conduits

SUBPART B:  GROUNDWATER CLASSIFICATION

Section

620.201	Groundwater Designations

620.210	Class I: Potable Resource Groundwater

620.220	Class II: General Resource Groundwater

620.230	Class III: Special Resource Groundwater

620.240	Class IV: Other Groundwater

620.250	Groundwater Management Zone

620.260	Reclassification of Groundwater by Adjusted Standard

SUBPART C:  NONDEGRADATION PROVISIONS

FOR APPROPRIATE GROUNDWATERS

Section

620.301	General Prohibition Against Use Impairment of Resource Groundwater

620.302	Applicability of Preventive Notification and Preventive Response Activities

620.305	Preventive Notification Procedures

620.310	Preventive Response Activities

SUBPART D:  GROUNDWATER QUALITY STANDARDS

Section

620.401	Applicability

620.405	General Prohibitions Against Violations of Groundwater Quality Standards

620.410	Groundwater Quality Standards for Class I: Potable Resource Groundwater

620.420	Groundwater Quality Standards for Class II: General Resource Groundwater

620.430	Groundwater Quality Standards for Class III: Special Resource Groundwater

620.440	Groundwater Quality Standards for Class IV: Other Groundwater

620.450	Alternative Groundwater Quality Standards

SUBPART E:  GROUNDWATER MONITORING AND ANALYTICAL PROCEDURES

Section

620.505	Compliance Determination

620.510	Monitoring and Analytical Requirements

SUBPART F:  HEALTH ADVISORIES

Section

620.601	Purpose of a Health Advisory

620.605	Issuance of a Health Advisory

620.610	Publishing Health Advisories

620.615	Additional Health Advice for Mixtures of Similar-Acting Substances

620.APPENDIX A	Procedures for Determining Human Toxicant Advisory Concentrations for Class I: Potable Resource Groundwater

620.APPENDIX B	Procedures for Determining Hazard Indices for Class I: Potable Resource Groundwater for Mixtures of Similar-Acting Substances

620.APPENDIX C	Guidelines for Determining When Dose Addition of Similar-Acting Substances in Class I: Potable Resource Groundwaters is Appropriate

620.APPENDIX D	Information Required for Groundwater Management Zone Application under 35 Ill. Adm. Code 620.250(b) and Corrective Action Completion Certification under 35 Ill. Adm. Code 620.250(d)

620.APPENDIX E	Similar-Acting Substances

620.TABLE A	Similar-Acting Noncarcinogenic Constituents

620.TABLE B	Similar-Acting Carcinogenic Constituents