Section 724.133  Testing and Maintenance of Equipment

All facility communications or alarm systems, fire protection equipment, spill control equipment, and decontamination equipment, where required, must be tested and maintained as necessary to assure its proper operation in time of emergency.

(Source:  Amended at 42 Ill. Reg. 22614, effective November 19, 2018)