Section 174.370  General Requirement to Maintain All Equipment

Equipment and other items required by 41 Ill. Adm. Code 160, 172, 174, 175, 176, 177 and 180 shall be maintained in accordance with 41 Ill. Adm. Code 175 and 176 and this Part and manufacturer's instructions and otherwise shall be kept in good operating condition at all times.