SUBPART A:  DEFINITIONS

Section

175.100	Definitions

SUBPART B:  MOTOR FUEL DISPENSING FACILITY REQUIREMENTS

Section

175.200	General Requirements for Motor Fuel Dispensing Facilities

175.210	Attended Self-Service Motor Fuel Dispensing Facilities and Islands

175.220	Unattended Self-Service Motor Fuel Dispensing Facilities and Islands

175.230	Fleet Vehicle Motor Fuel Dispensing Facilities

175.240	Full Service Motor Fuel Dispensing Facilities and Islands

175.250	Marine Motor Fuel Dispensing Facilities

175.260	Miscellaneous General Operating Requirements

SUBPART C:  PERMITS, FEES AND SCHEDULING

Section

175.300	Permitted UST Activity

175.310	Site Plans

175.320	Scheduling of UST Activity

175.330	Payment of 1988 Annual UST Fee (Repealed)

SUBPART D:  DESIGN, INSTALLATION AND CONSTRUCTION REQUIREMENTS

Section

175.400	Design and Construction of USTs

175.405	Spill Containment and Overfill Prevention Equipment

175.410	Submersible, Under-dispenser, Transition and Other Containment Sumps

175.415	UST Compatibility with Product Stored

175.420	Piping

175.425	UST Wiring Procedures

175.430	Clearance Required for USTs

175.435	Testing of Tanks or Lines

175.440	Venting of Tanks

175.445	Fill Pipes

175.450	Pumps, Dispensers and Other Product Transfer Equipment

175.455	USTs Inside or Under Buildings

175.460	Marinas

175.465	Additional Requirements for Installation and Upgrade of USTs

SUBPART E:  CORROSION PROTECTION

Section

175.500	Interior Lining and Lining Inspection of USTs

175.510	Corrosion Protection

SUBPART F:  RELEASE DETECTION

Section

175.600	Owner/Operator Spill and Overfill Release Control Responsibilities

175.610	General Release Detection Requirements for All USTs

175.620	Release Detection Requirements for Hazardous Substance USTs

175.630	Methods of and Requirements for Release Detection for Tanks

175.640	Methods of and Requirements for Release Detection for Piping

175.650	Release Detection and Cathodic Protection Recordkeeping

SUBPART G:  REPAIRS TO UNDERGROUND STORAGE TANKS

AND DEFECTIVE EQUIPMENT

Section

175.700	Repairs Allowed

175.710	Emergency Repairs

175.720	Defective or Non-Compliant Equipment and Emergency Action by OSFM

SUBPART H:  REMOVAL, ABANDONMENT AND CHANGE-IN-SERVICE

Section

175.800	Removal, Abandonment-in-Place or Change-in-Service Records

175.810	Out of Service

175.820	Change-in-Service of USTs

175.830	Removal of USTs

175.840	Abandonment-in-Place

SUBPART I:  UST SYSTEMS WITH FIELD-CONSTRUCTED TANKS AND

AIRPORT HYDRANT FUEL DISTRIBUTION SYSTEMS

Section

175.900 	General Requirements

175.910	Additions, Exceptions, and Alternatives for UST Systems with Field-Constructed Tanks and Airport Hydrant Systems

175.920	Partial Exclusions for Aboveground Storage Tanks Associated with Airport Hydrant Systems and Field-Constructed Tanks

175.APPENDIX A	UST Activity that Cannot Proceed Without an OSFM Inspector on Site

175.APPENDIX B	The Type of OSFM Permit Required for Specific Permitted UST Activities

175.APPENDIX C	Derivation Table (Repealed)