Section 1000.30  Definitions

For the purposes of this Part, the definitions of terms in Section 15 of the Act and in this Section shall apply.

"Acceptance Inspection" means an inspection performed at the completion of the initial installation or alteration of equipment in accordance with applicable standards.

"Act" means the Elevator Safety and Regulation Act [225 ILCS 312].

"Alteration" means any change to equipment, including its parts, components or subsystems, other than maintenance, repair or replacement of the equipment or its parts, components or subsystems. [225 ILCS 312/15] For the purpose of this Part and the Act, this definition will take precedence over similar definitions used in safety codes incorporated by reference in Section 1000.60.

"Authority Having Jurisdiction", as used in ASME A17.1-2010/CSA B44-10, and Performance-Based Safety Code for Elevators and Escalators (ASME A17.7-2007/CSA B44.7-07), means the Board.

"Board" means the Elevator Safety Review Board created by Section 25 of the Act [225 ILCS 312/15].

"Certificate of Conformance" means a certificate issued by a nationally accredited independent conveyance certification organization designated by ANSI, ASME or SCC (Standards Council of Canada) to operate a certification program that conforms to the Performance-Based Safety Code for Elevators and Escalators (ASME A17.7/CSA B44.7) and that evaluates new technology applicable to a conveyance for conformance with ASME A17.7/CSA B44.7.  The Certificate of Conformance provides proof that the conveyance complies with ASME A17.7/CSA B44.7 and any other applicable codes required under the Act. The Certificate shall be part of the basis for approval by the Board.

"Certificate of Operation" means a certificate issued by OSFM or the Local Administrator that indicates that the conveyance:

has passed the required safety inspection and tests;

has been registered; and

fees have been paid.  [225 ILCS 312/15]

"Code" or "State Code" means the standards and recommendations incorporated by reference in Section 1000.60.

"Contractor License Designee" means an individual designated by a licensed elevator contractor or licensed limited elevator contractor who holds a current elevator mechanic's license or limited elevator mechanic's license and has the responsibility to ensure that work performed by the contractor is done so in conformance with the Act.

"Elevator Contractor" means any person, firm, or corporation who possesses an elevator contractor license in accordance with the provisions of Sections 40 and 55 of the Act and who is engaged in the business of erecting, constructing, installing, altering, servicing, repairing, or maintaining and is entitled to perform electrical work on elevators or related conveyances covered by the Act within any building or structure, except exempt private residences.  [225 ILCS 312/15]

"Elevator Industry Apprentice" means an individual who is enrolled in an apprenticeship program approved by the Bureau of Apprenticeship and Training of the U.S. Department of Labor and who is registered by OSFM and works under the general direction of a licensed elevator mechanic or licensed limited elevator mechanic.  Licensure is not required for an elevator industry apprentice.  [225 ILCS 312/15]

"Elevator Inspector" means any inspector, as that term is defined in ASME QEI, who possesses an elevator inspector license in accordance with the provisions of the Act. [225 ILCS 312/15]

"Elevator Mechanic" means any person who possesses an elevator mechanic license in accordance with the provisions of Section 45 of the Act and who is engaged in erecting, constructing, installing, altering, servicing, repairing, or maintaining elevators or related conveyances covered by the Act. [225 ILCS 312/15]

"Emergency Elevator Mechanic License" means a license issued by OSFM, under Section 45(d) of the Act and Section 1000.80(d) of this Part and based upon the certification of a licensed elevator contractor or licensed limited elevator contractor, whenever OSFM determines that an emergency exists in the State due to disaster or work stoppage and the number of persons in the State holding mechanic licenses is insufficient to cope with the emergency. [225 ILCS 312/45(d)]

"Hearing Officer" means the presiding officer or officers at the initial hearing before the Board and each continuation of that hearing.  A hearing officer must be an attorney-at-law licensed to practice in Illinois.

"Inspector's License" or " Inspection Company License" means a license issued to an ASME QEI certified elevator inspector or inspection company that has proven the inspector's or the company's qualifications and ability, and has been authorized by the OSFM to possess this type of license under the provisions of this Part. [225 ILCS 312/15]

"Inspection Company License Designee" means an individual designated by a licensed elevator inspection company who holds an elevator inspector license.

"Limited Elevator Contractor License" means a license issued by OSFM, under Section 1000.80(g), that limits the licensee's business to a specific type of conveyance described in ASME A18.1.

"Limited Elevator Mechanic License" means a license issued by OSFM, under Section 1000.80(a), that authorizes the licensee to carry on a business of erecting, constructing, installing, altering, servicing, repairing or maintaining a specific type of conveyance described in ASME A18.1 within any building or structure.  [225 ILCS 312/15]

"Local Administrator" means the municipality or county that entered into a local elevator agreement with OSFM to operate its own elevator safety program in accordance with the Act and this Part.

"Material Alteration" means an "alteration", defined in ASME A17.1 as, any change to equipment, including its parts, components, and/or subsystems, other than maintenance, repair, or replacement.

"New Technology" means an elevator system, component or subsystem that has not been addressed in the Safety Code for Elevators and Escalators (ASME A17.1-2010/CSA B44-10), but meets the requirements of a certificate of conformance under the Performance-Based Safety Code for Elevators and Escalators (ASME A17.7-2007/CSA B44.7-07).

"OSFM" means the Office of the State Fire Marshal, which is designated by the Act to be the administrator of the Illinois Elevator Safety and Regulation Program.

"Owner" means the owner of the conveyance, which could be an individual, a group of individuals or an association, trust, partnership, corporation or person doing business under an assumed name.  The owner may delegate his, her or its authority to manage the day-to-day operations of the conveyance to another party, but may not delegate his, her or its responsibilities and duties under the Act and this Part. [225 ILCS 312/15]

"Private Residence" means a separate dwelling or a separate apartment or condominium unit in a multiple-family dwelling that is occupied by members of a single-family unit. [225 ILCS 312/15] Private residence excludes a unit used on a time-share basis by more than one family over a period of time.

"Repair", as defined in ASME A17.1, means reconditioning or renewal of parts, components, and/or subsystems necessary to keep equipment in compliance with applicable code requirements.  Repair includes only such work as is necessary to maintain present equipment in a safe and serviceable condition and to adjust or replace defective, broken, or worn parts with parts made of equivalent material, strength, and design, if the replacing part performs the same function as the replaced part.

"Temporary Elevator Mechanic License" means a temporary license issued by OSFM, under Section 45(e) of the Act and Section 1000.80(c) of this Part, when OSFM agrees that there are no licensed personnel available to perform elevator work, and upon the request and certification of a licensed elevator contractor or licensed limited elevator contractor. The individual receiving the temporary elevator mechanic license shall have an acceptable combination of documented experience and education to perform elevator work without direct and immediate supervision.  [225 ILCS 312/45(e)]

"Temporary Limited Authority" means a temporary license to perform work on a specific type of conveyance described in ASME A18.1 issued, under Section 45(g) of the Act and Section 1000.80(a)(3) of this Part. A temporary license will be issued when OSFM agrees that there are no licensed personnel available to perform elevator work.  The license will be issued by OSFM to an individual that OSFM agrees is qualified to perform the work.

(Source:  Amended at 48 Ill. Reg. 825, effective December 28, 2023)